## Лист1
| fam/vko |  |  |  | hex/oko |  |  | resalts
Well | Threshold Cycle Ct | Set Point | Identifier | Well | Threshold Cycle Ct | Set Point | Identifier
C1 | N/A |  | mk65 | C1 | 26.7 |  | mk65 | neg
C2 | 22.8 |  | 71 | C2 | 28.3 |  | 71 | pos
C3 | N/A |  | 66 | C3 | 26 |  | 66 | neg
C4 | 27 |  | 72 | C4 | 25.5 |  | 72 | pos
C5 | 24.8 |  | 68 | C5 | 28.2 |  | 68 | pos
C6 | N/A |  | oko | C6 | 25.4 |  | oko | ok
C7 | N/A |  | k- | C7 | N/A |  | k- | ok
C8 | 24.6 |  | k+ | C8 | N/A |  | k+ | ok
| fam/vko |  |  |  | hex/oko
Well | Threshold Cycle Ct | Set Point | Identifier | Well | Threshold Cycle Ct | Set Point | Identifier
A1 | N/A |  | m65 | A1 | 26.5 |  | m65 | neg
A2 | 22.5 |  | 71 | A2 | 28.1 |  | 71 | pos
A3 | N/A |  | 66 | A3 | 26.1 |  | 66 | neg
A4 | 25.9 |  | 72 | A4 | 26.3 |  | 72 | pos
A5 | 23.6 |  | 68 | A5 | 28.2 |  | 68 | pos
A6 | N/A |  | oko | A6 | 26 |  | oko | ok
A7 | N/A |  | k- | A7 | N/A |  | k- | ok
A8 | 26.2 |  | k+ | A8 | N/A |  | k+ | ok
| fam/vko |  |  |  | hex/oko |  |  | resalts
Well | Threshold Cycle Ct | Set Point | Identifier | Well | Threshold Cycle Ct | Set Point | Identifier
E1 | 19.7 |  | ch61 | E1 | N/A |  | ch61
E2 | 20.4 |  | 62 | E2 | N/A |  | 62
E3 | 27.4 |  | 62* | E3 | 26.7 |  | 62*
E4 | 24.6 |  | 63 | E4 | 27.1 |  | 63
E5 | N/A |  | 67 | E5 | 26.5 |  | 67
E6 | N/A |  | oko | E6 | 26.4 |  | oko
E7 | 26.7 |  | k+ | E7 | N/A |  | k+
E8 | N/A |  | k- | E8 | N/A |  | k-
| fam/vko |  |  |  | hex/oko
Well | Threshold Cycle Ct | Set Point | Identifier | Well | Threshold Cycle Ct | Set Point | Identifier
F1 | 20.2 |  | 61gc | F1 | N/A |  | 61gc
F2 | 20.6 |  | 62gc | F2 | N/A |  | 62gc
F3 | 28.6 |  | 62*gc | F3 | 27.8 |  | 62*gc
F4 | 25.9 |  | 63gc | F4 | 28.4 |  | 63gc
F5 | N/A |  | 67gc | F5 | 26.5 |  | 67gc
F6 | N/A |  | oko | F6 | 26.9 |  | oko | ok
F7 | 26.8 |  | k+ | F7 | N/A |  | k+ | ok
F8 | N/A |  | k- | F8 | N/A |  | k- | ok
гепатит С |  |  |  |  | joe/vko | [6 empty] | fam/oko
Type | Identifier | Replicate # | Threshold Cycle (Ct) | Log Starting Quantity | Starting Quantity (SQ) |  | Type | Identifier | Replicate # | Threshold Cycle (Ct) | Log Starting Quantity | Starting Quantity (SQ)
Unknown | H101 | 1 | 21.31 | 5.228 | 169000 | C3 | Unknown | H101 | 1 | 28.35 | 3.552 | 3560 | 21362359.5506
Unknown | F115 | 2 | 27.53 | 3.481 | 3020 | C4 | Unknown | F115 | 2 | 26.57 | 4.128 | 13400 | 101417.9104
Unknown | H105 | 3 | 24.16 | 4.427 | 26700 | C5 | Unknown | H105 | 3 | 26.64 | 4.107 | 12800 | 938671.875
Unknown | H118 | 4 | 26.31 | 3.824 | 6670 | C6 | Unknown | H118 | 4 | 26.24 | 4.235 | 17200 | 174505.814
Unknown | L75 | 5 | 26.8 | 3.684 | 4830 | C7 | Unknown | L75 | 5 | 26.39 | 4.186 | 15400 | 141136.3636
Unknown | L96 | 6 | 19.29 | 5.795 | 624000 | C8 | Unknown | L96 | 6 | 28.96 | 3.354 | 2260 | 124247787.6106
Unknown | L45 | 7 | 24.66 | 4.287 | 19400 | C9 | Unknown | L45 | 7 | 26.73 | 4.078 | 12000 | 727500
Unknown | L2 | 8 | 24.01 | 4.469 | 29500 | C10 | Unknown | L2 | 8 | 26.79 | 4.058 | 11400 | 1164473.6842
Unknown | L7 | 9 | 24.69 | 4.277 | 18900 | D3 | Unknown | L7 | 9 | 26.73 | 4.077 | 11900 | 714705.8824
Unknown | PKO1 | 10 | 31.87 | 2.261 | 183 | D4 | Unknown | PKO1 | 10 | 26.23 | 4.239 | 17300 | 4760.1156
Unknown | PKO2 | 11 | 25.86 | 3.949 | 8890 | D5 | Unknown | PKO2 | 11 | 26.34 | 4.204 | 16000 | 250031.25
Standard | K1 | 1 | 18.46 | 5.989 | 975000 | D6 | Unknown | OKO | 12 | 26.2 | 4.25 | 17800 | #VALUE!
Standard | K2 | 2 | 25.87 | 4.021 | 10500 | D10 | Standard | B1 | 4 | 21.77 | 5.602 | 400000
Standard | K3 | 3 | 33.91 | 1.653 | 45 | E3 | Standard | B2 | 5 | 25.62 | 4.602 | 40000
Unknown | OKO | 12 | N/A | N/A | N/A | E4 | Standard | B3 | 6 | 27.94 | 3.602 | 4000
Standard | B1 | 4 | N/A | N/A | N/A | D7 | Standard | K1 | 1 | N/A | N/A | N/A
Standard | B2 | 5 | N/A | N/A | N/A | D8 | Standard | K2 | 2 | N/A | N/A | N/A
Standard | B3 | 6 | N/A | N/A | N/A | D9 | Standard | K3 | 3 | N/A | N/A | N/A
| геп с |  |  |  |  | joe/vko | [6 empty] | fam/oko
| Type | Identifier | Replicate # | Threshold Cycle (Ct) | Log Starting Quantity | Starting Quantity (SQ) |  | Type | Identifier | Replicate # | Threshold Cycle (Ct) | Log Starting Quantity | Starting Quantity (SQ)
C3 | Unknown | 10^6 | 1 | 22.21 | 4.86 | 72400 | C3 | Unknown |  | 1 | 26.82 | 3.884 | 7660 | 4253263.7076
C4 | Unknown | 10^5 | 2 | 25.65 | 3.87 | 7420 | C4 | Unknown |  | 2 | 26.27 | 4.067 | 11700 | 285384.6154
C5 | Unknown | 10^4 | 3 | 29.53 | 2.755 | 569 | C5 | Unknown |  | 3 | 26.43 | 4.015 | 10400 | 24620.1923
C6 | Unknown | 10^3 | 4 | 33.59 | 1.589 | 38.8 | C6 | Unknown |  | 4 | 26.51 | 3.988 | 9720 | 1796.2963
C7 | Unknown | 10^3 | 5 | 34.2 | 1.413 | 25.9 | C7 | Unknown |  | 5 | 26.13 | 4.115 | 13000 | 896.5385 | переставлять низкокопийные пробы.
C8 | Unknown | 500 | 6 | 37.9 | 0.349 | 2.23 | C8 | Unknown |  | 6 | 26.23 | 4.081 | 12000 | 83.625
C9 | Unknown | 500 | 7 | 37.02 | 0.601 | 3.99 | C9 | Unknown |  | 7 | 26.19 | 4.094 | 12400 | 144.7984
D4 | Unknown | PKO1 | 10 | 31.98 | 2.05 | 112 | C10 | Unknown |  | 8 | 25.98 | 4.166 | 14700 | 3428.5714
D5 | Unknown | PKO2 | 11 | 25.58 | 3.893 | 7810 | D3 | Unknown |  | 9 | 26.35 | 4.04 | 11000 | 319500
D7 | Standard |  | 1 | 18.5 | 5.989 | 975000 | D4 | Unknown |  | 10 | 26.05 | 4.14 | 13800 | #VALUE!
D8 | Standard |  | 2 | 24.74 | 4.021 | 10500 | D5 | Unknown |  | 11 | 26.6 | 3.957 | 9060 | #VALUE!
D9 | Standard |  | 3 | 33.54 | 1.653 | 45 | D6 | Unknown |  | 12 | 26.03 | 4.149 | 14100 | #VALUE! | oko
C10 | Unknown | 250 | 8 | N/A | N/A | N/A | D10 | Standard |  | 4 | 21.29 | 5.602 | 400000
D3 | Unknown | 250 | 9 | N/A | N/A | N/A | E3 | Standard |  | 5 | 25.48 | 4.602 | 40000
D6 | Unknown | OKO | 12 | N/A | N/A | N/A | E4 | Standard |  | 6 | 27.26 | 3.602 | 4000
D10 | Standard |  | 4 | N/A | N/A | N/A | D7 | Standard |  | 1 | N/A | N/A | N/A
E3 | Standard |  | 5 | N/A | N/A | N/A | D8 | Standard |  | 2 | N/A | N/A | N/A
E4 | Standard |  | 6 | N/A | N/A | N/A | D9 | Standard |  | 3 | N/A | N/A | N/A
|  | fam/vko |  |  |  | hex/oko |  |  | результат
| Well | Threshold Cycle Ct | Set Point | Identifier | Well | Threshold Cycle Ct | Set Point | Identifier
| A1 | N/A |  | ur63 | A1 | 27.7 |  | ur63 | neg
| A2 | 19.8 |  | 64 | A2 | N/A |  | 64 | pos
| A3 | 24.2 |  | 65 | A3 | N/A |  | 65 | pos
| A4 | N/A |  | 67 | A4 | 28.1 |  | 67 | neg
| A5 | N/A |  | 69 | A5 | 28 |  | 69 | neg
| A6 | N/A |  | oko | A6 | 27.8 |  | oko | ok
| A7 | N/A |  | k-- | A7 | N/A |  | k-- | ok
| A8 | 25.8 |  | k+ | A8 | N/A |  | k+ | ok
|  | fam/vko |  |  |  | hex/oko |  |  | результат
| Well | Threshold Cycle Ct | Set Point | Identifier | Well | Threshold Cycle Ct | Set Point | Identifier
| C1 | N/A |  | mi63 | C1 | 25.8 |  | mi63 | neg
| C2 | N/A |  | 64 | C2 | 25.9 |  | 64 | neg
| C3 | N/A |  | 65 | C3 | 25.9 |  | 65 | neg
| C4 | 19.7 |  | 67 | C4 | N/A |  | 67 | pos
| C5 | 26.4 |  | 69 | C5 | 25.9 |  | 69 | pos
| C6 | N/A |  | oko | C6 | 25.5 |  | oko | ok
| C7 | N/A |  | k- | C7 | N/A |  | k- | ok
| C8 | 25.5 |  | k+ | C8 | N/A |  | k+ | ok
|  | fam/vko |  |  |  | hex/oko |  |  | результат
| Well | Threshold Cycle Ct | Set Point | Identifier | Well | Threshold Cycle Ct | Set Point | Identifier
| F1 | N/A |  | mis62 | F1 | 25.9 |  | mis62 | neg
| F2 | N/A |  | 63 | F2 | 25.7 |  | 63 | neg
| F3 | N/A |  | 64 | F3 | 29.1 |  | 64 | neg
| F4 | 26.1 |  | 69 | F4 | 26 |  | 69 | pos
| F5 | 19.5 |  | 70 | F5 | N/A |  | 70 | pos
| F6 | N/A |  | oko | F6 | 25.8 |  | oko | ok
| F7 | N/A |  | k- | F7 | N/A |  | k- | ok
| F8 | 25.7 |  | k+ | F8 | N/A |  | k+ | ok